## 장비대장
순번 | 관리번호 | 구입일련번호 | 물품번호 | 물품명 | 물품명(외부 보고용) | 규격 | 구입일(내부) | 취득일(의회) | 취득일(확정) | 폐기일 | 이관일 | 수관일 | 구입년도 | 수량 | 내부금액(원) | 외부금액(천원) | 상태 | 용도 | 바고 | 장소 | 제조사 | 제조국 | 도입 회사명 | 도입처 주소 | 연락처 | 상태 | 내용 | 연락처 비고
1 | 04-장비-05 | [0000000001127141] | 41104914-20865022 | 여과기(보틀탑필터또는여과컵) | 보틀탑필터또는여과컵 | 3구 1set | 1995-01-21 |  | 1995-01-21 |  |  |  | 1995 | 1 | 1086000 | 1086 | 사용 | 시료여과 | 04-장비-05-06 세트 | 수질환경팀 실험실 | Nalgene |  | 대일엔지니어링 | 안양시동안구 호계1동 995-2 | 02-469-6420 | 신품
2 | 04-장비-06 | [0000000001127140] | 41104914-20865022 | 여과기(보틀탑필터또는여과컵) | 보틀탑필터또는여과컵 | 3구 1set | 1995-01-21 |  | 1995-01-21 |  |  |  | 1995 | 1 | 1086000 | 1086 | 사용 | 시료여과 | 04-장비-05-06 세트 | 수질환경팀 실험실 | Nalgene |  | 대일엔지니어링 | 안양시동안구 호계1동 995-2 | 02-469-6420 | 신품
3 | 04-장비-30 | [0000000001127384] | 41111517-20915745 | 전기식지시저울(분석저울) | 분석저울 | SARTORIUS LE244S | 2004-07-01 | 2004-07-01 | 2004-07-01 |  |  |  | 2004 | 1 | 9278000 | 9278 | 사용 | 시약측량 |  |  | Sartorius | 미국 | 우주과학 | 종로구 장사동 208-1 | 02-384-0490 | 신품
4 | 04-장비-31 | [0000000001127172] | 41113319-20591256 | 휴대용 현장수질검사기(수질분석기) | 수질분석기 | YSI 556MPS | 2004-07-01 | 2004-07-01 | 2004-07-01 |  |  |  | 2004 | 1 | 6313000 | 6313 | 사용 | 하천수 현장측정 |  |  | YSI | 미국 | 우주과학 | 종로구 장사동 208-1 | 02-384-0490 | 신품 | 1. pH, 온도 2. DO 3. 전기전도도 측정
5 | 04-장비-38 | [0000000001127364] | 41102404-20457643 | 핫플레이트(실험용히터) | 실험실용히터 | HP-3 | 2005-07-27 |  | 2005-07-27 |  |  |  | 2005 | 1 | 1470000 | 1470 | 사용 | 시료교반 |  |  | 우주과학 |  | 우주과학 | 종로구 장사동 208-1 | 02-384-0490 | 신품
6 | 04-장비-40 | 일련번호없음 | 물품번호없음 | pH meter | pH측정기 | 781pH/Ion meter | 2005-07-27 | 2005-07-27 | 2005-07-27 |  |  |  | 2005 | 1 | 5821000 | 5821 | 사용 | pH 측정 | 물품번호 없는 상태로 꽤 오래전부터 등록되었음, 현재 전극 교체후 운용 중(2026-09-30 기준) |  | Metrohm | 스위스 | 우주과학 | 종로구 장사동 208-1 | 02-384-0490 | 신품
7 | 04-장비-48 | [0000000001267005] | 41104401-20197980 | 인큐베이터(중력대류식범용배양기) | 중력대류식범용배양기 | MIR 553(S.N. : 0800060090) | 2008-10-16 | 2008-10-16 | 2008-10-16 |  |  |  | 2008 | 1 | 6645000 | 6645 | 사용 | BOD 측정 |  | 수질환경팀 실험실 | SANYO | 일본 | 바이켐 | 서울시 중랑구 묵1동 155-4 | 02-935-2143 | 신품 |  | 김복열 011-9163-8316
8 | 04-장비-52 | [0000000001267022] | 41115602-10047079 | 자동적정기(전위차적정기) | 전위차적정기 | 876 Dosimat Plus | 2008-10-16 |  | 2008-10-16 |  |  |  | 2008 | 1 | 3410000 | 3410 | 사용 | COD 적정 |  |  | Metrohm | 스위스 | 바이켐 | 서울시 중랑구 묵1동 155-4 | 02-935-2143 | 신품 | Volume : (0 ~ 20) mL Dosing Error : ±30 uL Max Permissible Systematic Error : ±0.21 %, ±40 uL Max Permissible Random Error : ±0.07 %, ±14 uL | 김복열 011-9163-8316
9 | 04-장비-55 | 일련번호없음 | 41104510-10049553 | 건조기 | 건조캐비닛또는오븐 | MO-212F | 2008-10-16 |  | 2008-10-16 |  |  |  | 2008 | 1 | 1178000 | 1178 | 사용 | 시료 및 초자 건조 |  |  | SANYO | 일본 | 바이켐 | 서울시 중랑구 묵1동 155-4 | 02-935-2143 | 신품 | 용량 : 150 L 사용온도 : (45 ~ 200) ℃ PID Control 무게 : 66 kg S/N : 07120020 | 김복열 011-9163-8316
10 | 04-장비-56 | [0000000001267319] | 40161701-20098014 | 원심분리기 | 원심분리기 | 한일(한국) | 2008-10-16 | 2008-10-16 | 2008-10-16 |  |  | 2019-12-23 | 2008 | 1 | 5050000 | 5050 | 사용 | 고형물 분리 | 북부지원 토양팀에서 2019-12-23 가져옴 |  | 한일 | 한국 | 바이켐 | 서울시 중랑구 묵1동 155-4 | 02-935-2143 | 신품 | AS 변경 : 한일과학산업(주) 032-543-6906 | 김복열 011-9163-8316
11 | 04-장비-60 | [0000000001301916] | 41111517-21162344 | 전기식지시저울(분석저울) | 분석저울 | SARTORIUS CPA224S | 2009-03-27 | 2009-03-31 | 2009-03-31 |  | 2022-01-01 |  | 2009 | 1 | 10750300 | 10750 | 사용 | 부유물질등 무게 측정 | 최초 2대 구입 후, 팀 분리로 인해 토양팀으로 이관(이관일자 정보 없음, 조회된 가장 오래전 년도 적용) |  | GERMANY |  | (주)한국싸토리우스 메카트로닉스 | 서울 서초구 양재동 209-3 양재빌딩 | 02-575-6945 | 신품 | (Serial No. 23901811) - Weighing capacity : 220 g - Readability : 0.1 mg - Operating Temp. range : 10 ℃ ~ 30 ℃ - Allowable ambient operating Temp : 5 ℃ ~ 40 ℃ - Linearity : ≤ ±0.2 mg - 물품목록번호 : 41111590-21162344 - 위 치 : 수질실험실 Ⅰ - 예산관련 : 하폐수오염도검사(저울 1 대 → 2 대 구입) | 010-3094-7977 (정희상)
12 | 04-장비-61 | [0000000001301957] | 41103811-20486884 | 진탕기(회전식진탕기) | 회전식진탕기 | SJ-RS1 | 2009-03-27 |  | 2009-03-27 |  | 2022-01-01 |  | 2009 | 1 | 2500000 | 2500 | 사용 | 세제,노말헥산 추출 | 최초 2대 구입 후, 팀 분리로 인해 토양팀으로 이관(이관일자 정보 없음, 조회된 가장 오래전 년도 적용) |  | 세종과학 | 한국 | 세종과학 | 부천 오정구 내동344 다우테크노타운 404 | 032-676-6641 | 신품 | (Serial No. SJ09032701) - Motor : Brushless DC Induction Motor, 1/8 HP - Stroke : 35 mm - Timer : Max. 99 h, Electronic Type - Capacity : 1 L X 6 ea - Power Source : 220V AC, 60Hz, 30 W - RPM : 250 rpm
13 | 04-장비-74 | [0000000001479443] | 41115703-20471378 | 기체크로마토그래프/질량분석기+증류수 제조장치 | 질량분석기(GC/MS) | USA/7890B(5977A) basic 360, Ultra 370 | 2014-06-23 | 2014-06-23 | 2014-06-23 |  |  |  | 2014 | 1 | 152682060 | 152682 | 사용 | 휘발성유기물질 측정 | 기체크로마토그래프와 함께 증류수장치 도입됨 한 세트로 묶임 | 토양분석팀 기기실 수질환경팀 실험실 | Agilent | 미국 | 영인과학 | 서울 강난구 압구정로 28길 22 | 02-519-7300 | 신품 | 1. 미량유해불질 정량분석 2. Qudropole Type
14 | 04-장비-75 | [0000000001560400] | 41104507-22450273 | 시료전처리장치(마이크로웨이브오븐) | 마이크로웨이브오븐 | Muitiwave pro | 2016-07-07 | 2016-06-23 | 2016-06-23 |  |  |  | 2016 | 1 | 37010300 | 37010 | 사용 | 중금속전처리 |  |  | Austria |  | 안톤파 코리아 주식회사 | 송파구 중대로 135 IT벤처타워 동관 13층 1301호 | 02-6747-5771 | 신품 | 1. Main Body 1) 출력 : 1500W(듀얼마그네트론 시스템) 2) 온도 컨트롤 : IR 센서(무선) 3) 내부 공간: 66 L 4) 최대압력: 140bar 5) 최대온도: 300 °C 6) 냉각 소요 시간 : 200 ℃에서 60 ℃ (20분 소요) 7) 9“ 풀 컬러 터치스크린. 8) USB를 통한 결과 저장 (.pdf, .excel, .png 등) | 대표) Fax) 02-6747-5772 010-4284-2542 (기술영엄부, 박재남)
15 | 04-장비-76 | [0000000001556486] | 41113328-22541382 | 수은분석기 | 수은분석기 | MA-3000 | 2016-10-04 | 2016-08-16 | 2016-08-16 |  |  |  | 2016 | 1 | 59438210 | 59438 | 사용 | 수은분석 |  |  | 일본 | NIC | 한국 ITS | 송파구 백제고분로 101 서일빌딩 4층 | 02-421-4022 | 신품 | 1. 시료 전처리부 - 연소관 종류 : 충진 석영관 - 분석 시료 용기 : 세라믹(100개) - 온도 : 최대 1000℃ - 수은 채집법 : 금아말감법 - 시료 용량 (액체 1,400uL, 고체 1,500mg) - 사용 가스 : 산소 2. 검출기부 - 분석방법 : 냉증기 원자흡광광도계법 (CVAAS) - 검출기 방식 : 3개 빔 스펙트로포토메터 - 측정 파장 : 253.7nm (검출기 : 광 튜브 검출기) - 검출 한계 : 0.001ng 3. 액체 분석용 전자동 환원기화 장치 - 분석 가능 용기 : 60개(표준액 : 10, 시료 : 50) - 사용 반응액 : H2SO4, SnCl2, - 검출 한계 : 1ppt(5ml) | 대표) Fax) 02-421-9022 010-6255-5617 (김융석 차장)
16 | 04-장비-77 | [0000000001619488] | 42281712-22625283 | 초음파세척기 | 초음파세척기 | NXPC-B5020SB | 2017-01-25 |  | 2017-01-25 |  |  |  | 2017 | 1 | 1925000 | 1925 | 사용 | 초자세척 |  |  | 국산 |  | ㈜뉴런핏 | 서울시 금천구 가산동 이앤씨드림타워 8차 902호 | 02 6340 6300 | 신품 | 1. 세척용량 : 20 L 2. 세척온도 : (-10 ~ 70) ℃ 3. 세척시간 : (1 ~ 99) min 4. 진동소자 : ULTRA B.L.T Type 5. 초음파 주파수 : 40 kHz 6. 초음파 출력 : 500 W | 02 6340 6306
17 | 04-장비-78 | [0000000001619489] | 41103706-20602831 | 추출항온수조 | 항온수조 | DS-27S6D | 2017-02-15 |  | 2017-02-15 |  |  |  | 2017 | 1 | 1430000 | 1430 | 사용 | COD 측정 |  |  | 다솔과학 | 한국 | ㈜다솔과학 | 경기도 화성시 삼성1로2길 10 | 031 376 1526 | 신품 | 1. 온도범위 : (상온+5) ℃ ~ 100 ℃ 2. 수조구조 및 개수 : 1열 6개 3. 내부용량 : 22 L 4. 전원 : AC 220 V, 60 Hz, 3 kw 5. 1701-111.1, 1701-111.2 | 031 377 4264
18 | 04-장비-78 | [0000000001619490] | 41103706-20602831 | 추출항온수조 | 항온수조 | DS-27S6D | 2017-02-15 |  | 2017-02-15 |  |  |  | 2017 | 1 | 1430000 | 1430 | 사용 | COD 측정 |  |  | 다솔과학 | 한국 | ㈜다솔과학 | 경기도 화성시 삼성1로2길 10 | 031 376 1526 | 신품 | 1. 온도범위 : (상온+5) ℃ ~ 100 ℃ 2. 수조구조 및 개수 : 1열 6개 3. 내부용량 : 22 L 4. 전원 : AC 220 V, 60 Hz, 3 kw 5. 1701-111.1, 1701-111.2 | 031 377 4264
19 | 04-장비-79 | [0000000001619480] | 40151502-23175112 | 진공펌프(2대) | 진공펌프 | ME8C NT | 2017-04-12 | 2017-04-13 | 2017-04-13 |  |  |  | 2017 | 1 | 12166000 | 12166 | 사용 | 부유물질 측정 | 1대로 등록되었으나 장비는 실제 장비는 세트로 2대 |  | Vacuubrand | 독일 | 에이스싸이언스 | 의정부시 능곡로 26번길 28 | 031 846 5300 | 신품 | 1. 내화학 및 내산성 2. PTFE-Viton-섬유-Viton 4 겹으로 만든 샌드위치 디자인 3. 스테이지수 ; 1 4. 다이어프램 수 : 4 5. 최종 진공도 : 52 Torr (70 mbar) 6. 진공속도 : 130 L/min 7. 2기 구매 | 031 843 5757
20 | 04-장비-80 | [0000000001641538] | 41103011-22914744 | 실험실용 냉장고(실험실용일반냉장고또는냉동고) | 실험실용일반냉장고또는 냉동고 | GMSR-1350 | 2018-01-29 | 2018-01-29 | 2018-01-29 |  |  |  | 2018 | 1 | 7739240 | 7739 | 사용 | 시약 및 시료보관 냉장고 |  |  | 주식회사 지엠에스 | 한국 | 주식회사 지엠에스 | 양주시 은현면 검준2길 201-22 | 010-8666-6344 | 신품 | 1. 1370 × 680 × 1450 2. 용량 : 1350 L 3. 외장 : Galvanized steel powder coating 4. 내장 : ABS, PE 5. 연구목적용 시료를 (4 ± 2) ℃로 보관하는 용도로 사용되는 핀 없는 응축기를 이용한 무제상 냉장고 | 031) 858-6344
21 | 04-장비-81 | [0000000001658451] | 40101787-22669686 | 실험실용 냉난방기 | 냉난방기 | 엘지전자(휘센) LR-W2903P3J | 2018-03-05 | 2018-03-05 | 2018-03-05 |  |  |  | 2018 | 1 | 5573930 | 5574 | 사용 | 실험실 냉난방(항온유지) |  |  | 엘지전자(주) 창원2공장 |  | 엘지전자(주) | 경남 창원시 엘지전자 창원2공장 | 1544-7777 | 신품 | - 법적냉동능력 6.09 RT - 냉방 정격능력 29,000 W - 난방 정격능력 33,000 W - 최대운전전류 32.0A - 옥내용 113kg(옥외 실외기 별도) | Tel. 1588-7777
22 | 04-장비-82 | [0000000001730803] | 41104510-20406573 | 건조기(건조캐비닛또는오븐) | 건조캐비닛또는오븐 | 다솔과학, DS-80-1 | 2019-02-26 |  | 2019-02-26 |  |  |  | 2019 | 1 | 1870000 | 1870 | 사용 | SS여과지 건조 | 04-장비-55 대체품 명목으로 구매했으나 현재 운용 중 |  | 한국 |  | 다솔과학 | 경기도 화성시 삼성1로 2길 10번지 (석우동 22-4) | 031-376-1526 | 신품 | - Forced convection type - Temperature Range : Ambient to 260℃(±0.3℃ at 140℃) - 137L, SUS304 - 60W blower fan - Over heat protector, Power breaker - Power(AC220V, 60Hz) 2Kw
23 | 04-장비-83 | [0000000001730828] | 41113319-23423285 | 수질분석기 | 수질분석기 | AMS Alliance, Futura 3 | 2019-07-10 | 2019-07-10 | 2019-07-10 |  |  |  | 2019 | 1 | 79971570 | 79972 | 사용 | 시안, 페놀류 분석 | 04-장비-25 폐기 후 대체 |  | AMS Alliance | 프랑스 | E&C Technology Co.,Ltd. | 서울특별시 구로구 디지털로 288, 1706호(대륭포스트타워 1차) | 2138-6578 | 신품 | Full Automatic Water Analyzer 1) Autosampler - 150 Sample cup position 2) Two Individual Analytical Console 3) On-line UV digestor(350 nm, quartz coil) / On-line distillation unit-up to 200℃ 4) Auto Shutdown & Automatic Start-up 5) Analytical Test Kit for CN/Phenol : - Throughput : 20-30 samples/hr 6) System Control Software
24 | 04-장비-84 | [0000000001626410] | 41113319-20485542 | 닌하이드린 분석기(수질분석기) | 수질분석기 | ㈜휴마스(국산), HS-1000 | 2017-11-28 |  | 2017-11-28 |  |  | 2022-01-01 | 2017 | 1 | 2990900 | 2991 | 사용 | 가축매몰지 관측정 수질 검사 (침출수 유출 여부 판정) | 물환경연구부 산업폐수팀에서 이관(이관일자 정보 없음, 조회된 가장 오래전 년도 적용) | 수질환경팀 실험실 초자장 | ㈜휴마스 | 국산 | ㈜휴마스 | 대전광역시 유성구 가정북로 26-77 | 042-864-2462 | 신품 | 1. 측정방식 : 발색시약에 의한 흡광광도법 2. 측정기기내에 NRN 분석방법과, 자동파장선택 방식으로 작동이 쉽고 빠른 분석이 이루어져야 한다. 3. 충전용 전지가 기본 장착되어 충전용어댑터를 이용 자동 충전할 수 있어야 한다.
25 | 04-장비-85 | [0000000001841504] | 41103502-20197399 | 실험실용배기기 | 실험실용배기기 | 오창과학(제작) | 2020-05-13 | 2020-05-13 | 2020-05-13 |  |  |  | 2020 | 1 | 11990000 | 11990 | 사용 | n-H, ABS 등 용매추출 | 2023년 행정사무감사 목록에서 제외(1회성) |  | 오창과학상사 |  | 오창과학상사 | 안양시 동안구 흥안대로 112-1 웰빙타워 303호 | 031-466-5503 | 신품 | 내산성 PP테이블탑 더블 흄후드 - PTFH-1500D(1500W x 1500D) - PTFH-1800D(1800W x 1500D) 2. 벽면실험테이블 & 세라스톤상판 - 실험테이블(1500W x 1800D x 800H) - 실험테이블(1800W x 1800D x 800H) - 1800W용 3구 수전, 간이씽크(300W x 200D) 포함 | 010-3269-5503
26 | 04-장비-86 | [0000000001841491] | 41115406-23439581 | 분광광도계 | 분광광도계 | PerkinElmer, Lambda 465 | 2020-05-20 | 2020-05-20 | 2020-05-20 |  |  |  | 2020 | 1 | 25400000 | 25400 | 사용 | 세제,색도 등 측정 | 04-장비-42 분광광도계 대체 |  | PerkinElmer | U.S.A. | ㈜신코 (Sinco) | 서울시 강남구 봉은사로 627 | 02-2143-8200 | 신품 | - 광다이오드 어레이 자외선-가시광선 분광광도계 See-Through 구조의 텅스텐 램프와 중수소 램프 1024채널 광다이오드 어레이 검출기 파장범위 190 ~ 1100nm 파장분해능 1nm 측정모드: Au, %T, %R, Intensity, 정량모드, 두께측정모드 최소측정시간 : 20msec Auto Sipper system 물품분류번호 : 41115406 - 23439581
27 | 04-장비-87 | [0000000001847050] [0000000001847049] | 41113315-20713557 | 총유기탄소분석기 | 유기탄소측정기 | Analytik jena, Multi N/C 3100 | 2020-06-09 | 2020-06-09 | 2020-06-09 |  |  |  | 2020 | 1 | 54097410 | 54097 | 사용 | TOC 분석 | 외자조달수수료 652,300원 |  | analytikjena | 독일 | analytikjena korea | 송파구 충민로 52 가든파이브웍스 B-803, 8층 |  | 신품 | TOC Analyzer: multi N/C 3100 multiWinⓇ PC software Autosampler: AS vario ER autosampler with additional needle cleaning Sample rack: 72 positions for AS vario ER Protective cover for AS vario and AS vario ER Desktop PC, Laser Printer CO2 Free Gas Generator Ultira Sonic Bath(40 Khz) | 02) 541-4360
28 | 04-장비-88 | [0000000001847052] [0000000001847051] | 41115404-22795804 | 질량분석기(GC-MS) | 질량분석기(GC/MS) | SCION SQ GC/MS (with 450GC) | 2020-06-12 | 2020-06-12 | 2020-06-12 |  |  |  | 2020 | 1 | 140549890 | 140550 | 사용 | 미량 유기물질 분석 | 외자조달수수료 1,669,930원 | 토양분석팀 기기실 | SCION Instrument |  | 싸이언인스트루먼트코리아 주식회사 | 경기도 용인시 기흥구 흥덕중앙로120 유타워 2302호(16950) | 031-712-7373 | 신품 | SCION SQ Quadrupole Mass Spectrometer 456-GC Gas Chromatograph CP-8400 Liquid AutoSampler PerkinElmer TurboMatrix 40 Mid-range Headspace AutoSampler
29 | 04-장비-90 | [0000000001885484] | 41104401-20485499 | BOD 인큐베이터(중력대류식범용배양기) | 중력대류식범용배양기 | 비전과학 | 2021-03-25 |  | 2021-03-25 |  |  |  | 2021 | 1 | 4840000 | 4840 | 사용 | BOD 측정 | 04-장비-48, 49 대체품 명목으로 구매를 했으나, 49번은 생태팀으로, 48번은 현재 운용 중 | 수질환경팀 실험실 | 주식회사 비전 | 대한민국 | 주식회사 비전 | 부천시 오정 삼정 삼작로 121번길 33 | 010-6271-8372 | 신품 | Temp Range: (-5 ~ 70)℃ Temp Accuracy: ±0.2℃ at 25℃ Temp Control: 10 Step Temp Program Controller Demension(In): (600 x 600 x 1,200) mm Demension(Out): (750 x 880 x 1,790) mm Safety Device: High & Low Temp Protector Capacity: 432 L - 전원: 220V, 7A, 1.5kW
30 | 04-장비-90 | [0000000001885485] | 41104401-20485499 | BOD 인큐베이터(중력대류식범용배양기) | 중력대류식범용배양기 | 비전과학 | 2021-03-25 |  | 2021-03-25 |  |  |  | 2021 | 1 | 4840000 | 4840 | 사용 | BOD 측정 |  |  | 주식회사 비전 | 대한민국 | 주식회사 비전 | 부천시 오정 삼정 삼작로 121번길 33 | 010-6271-8372 | 신품 | Temp Range: (-5 ~ 70)℃ Temp Accuracy: ±0.2℃ at 25℃ Temp Control: 10 Step Temp Program Controller Demension(In): (600 x 600 x 1,200) mm Demension(Out): (750 x 880 x 1,790) mm Safety Device: High & Low Temp Protector Capacity: 432 L - 전원: 220V, 7A, 1.5kW
31 | 04-장비-91 | [0000000001894649] | 41113319-21726216 | 수질분석기 | 수질분석기 | Seal analytical, DE/QuAAtro | 2021-08-27 | 2021-08-27 | 2021-08-27 |  |  |  | 2021 | 1 | 114658070 | 114658 | 사용 | T-N, T-P 분석 |  |  | SEAL Analytical GmbH | 독일 | ㈜비엘텍코리아 호남지사 | 전라북도 정읍시 상사4길 23-0(상동) C동 | 010-2371-4392 | 신품 | - Accuracy: T-N(<1.0%), T-P(<1.0%) Detection limit: T-N(0.01ppm, 0.001-4mg/L), T-P(0.001ppm, 0.003-0.5mg/L) - Air compressor with gage range: 0 to 0.4 Mpa - On-line Autoclave digestion system : Temp Range(room temp. to 200℃.)
32 | 04-장비-92 | [0000000001895369] [0000000001909737] | 41115404-23680632 | 질량분석기(LC-MS/MS) | 질량분석기 | AB SCIEX, Qtrap5500+ | 2021-09-14 | 2021-09-14 | 2021-09-14 |  |  |  | 2021 | 1 | 354917360 | 354917 | 사용 | 과불화화합물 분석 |  | 먹는물검사팀 유기분석실 | AB SCIEX | 싱가포르 | 한국랩스 주식회사 | 경기도 성남시 분당구 판교공원로3길 2, 201호 (판교동) | 031-708-8229 | 신품 | Mass Range: m/z 5 to 1,250 Scan Speed: 20,000 Da/sec Polarity Switching Speed: 5 msec Minimum Dwell Time: 1 msec Mass Stability: ≤0.1 Da over 24 Dinamic range: 6 order Electrospray positive sensitivity: S/N > 500,000:1
33 | 04-장비-93 | [0000000001945543] | 41103011-23334425 | 실험실용일반냉장고또는냉동고 | 실험실용일반냉장고또는냉동고 | UDS-45RIE-1 | 2022-07-11 |  | 2022-07-11 |  |  |  | 2022 | 1 | 1780000 | 1780 | 사용 | 시료보관용 냉장고 |  |  | 유니크 대성 (한국) 1588-9269 |  | 행복프로세스사회적협동조합 | 경기도 남양주시 다산중앙로19번길25-2 3 (다산동) 블루웨일2차 F610호 | 02-1644-0826 | 신품 | 실험실용일반냉장고, 유니크대성 0~5℃, 1119L, 149kg
34 | 04-장비-93 | [0000000001945544] | 41103011-23334425 | 실험실용일반냉장고또는냉동고 | 실험실용일반냉장고또는냉동고 | UDS-45RIE-1 | 2022-07-11 |  | 2022-07-11 |  |  |  | 2022 | 1 | 1780000 | 1780 | 사용 | 시료보관용 냉장고 |  |  | 유니크 대성 (한국) 1588-9269 |  | 행복프로세스사회적협동조합 | 경기도 남양주시 다산중앙로19번길25-2 3 (다산동) 블루웨일2차 F610호 | 02-1644-0826 | 신품 | 실험실용일반냉장고, 유니크대성 0~5℃, 1119L, 149kg
35 | 04-장비-94 | [0000000001959312] | 41115411-24171998 | 유도결합플라즈마 분광광도계+ AAS | 유도결합플라즈마 | Avio-550 Max | 2022-07-19 | 2022-07-19 | 2022-07-19 |  |  |  | 2022 | 1 | 161442760 | 161443 | 사용 | 중금속류 분석 | 외자조달수수료 2,498,470원, 382,580원 | 토양분석팀 기기실 | 퍼킨엘머 | 싱가포르 | 퍼킨엘머 유한회사 | 서울특별시 구로구 디지털로 31길 20, 13층 1302~1310호(구로동, 에이스테크노타워5차) | 042-862-7111 | 신품 | RF Freqeuency: 40MHz RF Power : 1000-1500 watts Nebulizer-corrosion resistance: 50%(v/v) solution of HCl Plasma Argon Flow: 0-17L/ml (Optical) Wavelength range: 163-782nm Detector: 2SCD
36 | 04-장비-95 | [0000000001742336] | 41104816-20197129 | 질소농축기(진공또는원심농축기) | 진공 또는 원심농축기(질소농축기) | Evatros T.C.S | 2019-07-01 | 2019-07-01 | 2019-07-01 |  |  | 2022-10-19 | 2019 | 1 | 38708980 | 38709 | 사용 | 미량 유기화합물질 시료농축 | 구리농수산물검사소에서 2022-10-19 가져옴 |  | ㈜구정 엔지니어링 |  | ㈜구정 엔지니어링 | 서울 구로구 디지털로 | 02-3281 -3376 | 신품 | 시료 농축기, 후드시설, 가스 공급장치 기능을 모두 갖춘 통합시료 농축 시스템 Evatros T.C.S(농축기), Evatros G(가스공급장치)
37 | 04-장비-96 | [0000000001997473] | 41115602-24478273 | 적정기(전위차적정기) | 전위차적정기 | 876 Manual Titratior Plus | 2023-02-07 | 2023-02-07 | 2023-02-07 |  |  |  | 2023 | 1 | 6996000 | 6996 | 사용 | COD 적정 | [7 empty] | 신품
38 | 04-장비-97 | [0000000002000160] | 41103812-20728003 | 진탕기(왕복식진탕기) | 왕복식진탕기 | C-SKR | 2023-04-26 |  | 2023-04-26 |  |  |  | 2023 | 1 | 3740000 | 3740 | 사용 | 노르말헥산 추출물질용(2L전용) | [7 empty] | 신품
39 | 04-장비-98 | [0000000001997469] | 41115705-22651356 | 이온크로마토그래프(IC) (액체크로마토그래프) | 액체크로마토그래프 | Metrohm, 930 Compact IC Flex Ses | 2023-06-20 | 2023-06-20 | 2023-06-20 |  |  |  | 2023 | 1 | 86754320 | 86754 | 사용 | 이온물질분석 |  |  | Metrohm | 스위스 | ㈜제이엘 사이언스 | 서울특별시 양천구 신정로 267, 606호 | 02-2065-6996 | 신품 | Isocratic dual piston pump Flow rate: 0.001 - 20.00 mL/min Isocratic dual piston pump Pressure rage: 0 – 35 MPa Injection valve Injection loop: 20 μL Anion suppressor Type: Micro-packed bed Conductivity Detector: DSP Autosampler Sample tube capacity: 148 ea Eluent production Flow rate: 0~35 MPa | 02-2065-6999
40 | 04-장비-99 | [0000000002007785] | 41113319-21726216 | 수질분석기 | 수질분석기 | Seal analytical, QuAAtro 39 | 2023-07-18 | 2023-07-18 | 2023-07-18 |  |  |  | 2023 | 1 | 101694480 | 101694 | 사용 | 불소, 암모니아성질소, ABS 분석 |  |  | SEAL Analytical GmbH | 독일 | 비엘텍코리아(주) | 서울특별시 영등포구 경인로 755, 에이스하이테크시티 1동 1607호 | 02-722-0760 | 신품 | Analytical Manifold D-Ammonia 1) Measuring range: 0 - 0.5 to 0 - 7 mg/L 2) Detection limit : 0.01 mg/L Analytical Manifold Fluoride 1) Measuring range: 0.01 - 10 mg/L 2) Detection limit : 0.01 mg/L Analytical Test kit for MBAS 1) Measuring range: 0.004 - 1 mg/L 2) Detection limit : 0.0041 mg/L Autosampler Sample tube capacity: 180 + 42 ea On-line Distillation system 1) Temperature range: 200 ℃
41 | 04-장비-100 | [0000000001945541] | 41103502-23387941 | 실험실용배기기 | 실험실용배기기 | 삼인싸이언스 | 2022-07-14 | 2022-07-14 | 2022-07-14 |  |  |  | 2022 | 1 | 5156320 | 5156 | 사용 | COD 분석 |  |  | 삼인싸이언스 |  | 삼인싸이언스(주) | 안산시 단원구 엠티브이4로48번길 27(목내동) | 02-2163-8940 | 신품 | 1. 챔버형 후드 - CHS-N12150(1200×1500×1550 mm) 2대
42 | 04-장비-100 | [0000000001945542] | 41103502-23387941 | 실험실용배기기 | 실험실용배기기 | 삼인싸이언스 | 2022-07-14 | 2022-07-14 | 2022-07-14 |  |  |  | 2022 | 1 | 5156310 | 5156 | 사용 | COD 분석 |  |  | 삼인싸이언스 |  | 삼인싸이언스(주) | 안산시 단원구 엠티브이4로48번길 27(목내동) | 02-2163-8940 | 신품 | 1. 챔버형 후드 - CHS-N12150(1200×1500×1550 mm) 2대
43 | 04-장비-101 | [0000000002074727] | 24131501-23636651 | 냉장냉동겸용장치 | 냉장냉동겸용장치 | 냉장고, 우성기업, GWFD-1260RFEC1, 1055L | 2025-03-21 |  | 2025-03-21 |  |  |  | 2025 | 1 | 2099025 | 2099 | 사용 | 시료보관용 냉장고 |  |  | 그랜드우성 | 한국 | 그랜드우성 | 서울특별시 성동구 청계천로 458 | 02-2237-7950 | 신품 | 실험실용일반냉장 및 냉동고 냉장 0~10℃, 1055L,190kg 냉동 –24~-3℃ 1260x800x1910mm
44 | 04-장비-101 | [0000000002074726] | 24131501-23636651 | 냉장냉동겸용장치 | 냉장냉동겸용장치 | 냉장고, 우성기업, GWFD-1260RFEC1, 1055L | 2025-03-21 |  | 2025-03-21 |  |  |  | 2025 | 1 | 2099025 | 2099 | 사용 | 시료보관용 냉장고 |  |  | 그랜드우성 | 한국 | 그랜드우성 | 서울특별시 성동구 청계천로 458 | 02-2237-7950 | 신품 | 실험실용일반냉장 및 냉동고 냉장 0~10℃, 1055L,190kg 냉동 –24~-3℃ 1260x800x1910mm
45 | 04-장비-102 | [0000000002074723] | 40101787-23933980 | pH측정기 | pH측정기 | pH측정기, Thermo orion, (US)230A | 2025-05-15 |  | 2025-05-15 |  |  |  | 2025 | 1 | 4840000 | 4840 | 사용 | 하·폐수, 하천수 pH 측정 | 물품번호 오류 등록하여 수정 불가.(물품번호 냉난방기) |  | Thermo Scientific Orion | 미국 | ㈜랩사이언스 | 경기도 하남시 조정대로 150 아이테코 1003 | 031-790-4123 | 신품 | - 측정 범위: -2.000 ~ 20.000 - 전극: ROSS Ultra pH/ATC 전극 (8157BNUMD) - 데이터 관리: 2,000개 데이터 저장 - 인터페이스: USB, RS232 - 전원: AC 90~260 V, 50/60 Hz
46 | 04-장비-103 | [0000000002074748] | 40101806-21087037 | 분광광도계 | 분광광도계 | 자외-가시선분광광도계, Shimadzu, (JP)UV-2600i Plus, 185~900nm | 2025-07-28 | 2025-07-28 | 2025-07-28 |  |  |  | 2025 | 1 | 40480000 | 40480 | 사용 | 6가크롬, 색도, 클로로필 a 분석 | 물품번호 오류 등록하여 수정 불가.(물품번호 열펌프) |  | Shimadzu | 일본 | 시리우스테크놀러지스 | 경기도 안산시 단원구 별망로453, 604-1호(목내동) | 031-364-8262 | 신품 | - 파장범위: 185 ~ 900 nm - 광학구조: Double Beam / Double Monochromator - 분광성능: 분광대역폭(SBW): 0.1 ~ 5 nm, 파장 정확도: ±0.3 nm - 광도성능: 흡광도 범위: –8.5 ~ 8.5 Abs - 광도 반복성: ±0.0002 Abs (0.5 Abs 기준) - 광원및관리요소: Deuterium + 50 W Halogen 램프
47 | 04-장비-104 | [0000000002074722] | 41115603-10047002 | 실험용세척기 | 실험용세척기 | GW6010ML,Smeg | 2025-10-28 | 2025-07-21 | 2025-07-21 |  |  |  | 2025 | 1 | 74988220 | 74988 | 사용 | 초자세척 |  |  | Smeg | 이탈리아 | ㈜휴먼코퍼레이션 | 서울특별시 송파구 가락로 36(석촌동, 휴먼빌딩) | 02-418-4182 | 신품 | - 제어방식: 마이크로컨트롤러 기반 자동 세척 시스템 - 탱크 재질: AISI 316L 스테인리스 - 세척 성능: 세척 펌프 유량 600 L/min - 온도 범위: 실온 ~ 95℃ (정확도 ±0.1℃) - 가열 방식: 전기 가열식 (13 kW) - 건조 시스템: 열풍 건조 방식 (건조 팬 220 m³/h) - 내부 크기: 550 × 620 × 685 mm - 전원/설비: 온수·냉수·탈이온수 3라인 급수

## 폐기장비
관리번호 | 구입일련번호 | 물품번호 | 물품명(내부) | 물품명(외부 보고용) | 규격 | 구입일(내부) | 취득일(의회) | 취득일(확정) | 폐기일 | 이관일 | 수관일 | 구입년도 | 수량 | 내부금액(원) | 외부금액(천원) | 상태 | 용도 | 내용 | 장소
04-장비-42 | [0000000001127378] | 41115406-10047317 | 분광광도계(uv/vis spectrophotometer) | 분광광도계 | DU-800 Kinetics Package | 2006-06-09 | 2006-06-09 | 2006-06-09 | 2024-01-01 |  |  | 2006 | 1 | 35373600 | 35374 | 폐기 | 세제, 색도 측정 | 폐기(폐기일자 정보 없음, 조회된 가장 오래전 년도 적용)

## 장비구성
관리번호 | 연번 | 내용 | 수량 | 단위
04-장비-07~08 | 1 | MIR 552 | 2대/set | set
04-장비-42 | 1 | AUTOSAMPLER | 1 | 대
04-장비-43 | 1 | UPS(NPS2000) 한도전원 | 1 | 대
04-장비-43 | 2 | Recirculation Water Cooling sys. (Cooling Sys. 5000 PE) perkin Elmer | 1 | 대
04-장비-43 | 3 | Air Compressor(Precisely Compressor) Perkin Elmer | 1 | 대
04-장비-60 | 1 | 분동 50 g (지시값등급 50 g/E2) 기물번호 : 18929995 | 1 | 개
04-장비-60 | 2 | 분동 100 g (지시값등급 100 g/E2) 기물번호 : 23429415 | 1 | 개
04-장비-60 | 3 | 분동 200 g (지시값등급 200 g/E2) 기물번호 : 23629381 | 1 | 개
04-장비-60 | 4 | 방진판(석판) | 1 | 개
04-장비-64 | 1 | 물벼룩배양 및 독성측정기외 8종
04-장비-64 | 2 | (pH meter, DO meter, 냉장고, 노트북,
04-장비-64 | 3 | 순수제조기, 전자저울, 조도계, 현미경)
04-장비-69 | 1 | Main Body | 1 | set
04-장비-69 | 2 | 전처리 장치(D2BX-02) | 1 | set
04-장비-69 | 3 | Auto Sampler(HSU-2020) | 1 | set
04-장비-69 | 4 | 시약주입장치(AASU-2000) | 1 | set
04-장비-69 | 5 | 컴퓨터 및 프린터 | 1 | set
04-장비-71 | 1 | Flame Automation System | 1 | set
04-장비-71 | 2 | Vapor Generation System | 1 | set
04-장비-71 | 3 | Autosampler | 1 | set
04-장비-71 | 4 | Air Compressor | 1 | 대
04-장비-72 | 1 | UV/Persulfate, Dual Oxidation | 1 | set
04-장비-72 | 2 | Dual NDIR Dectector | 1 | set
04-장비-72 | 3 | Autosampler | 1 | set
04-장비-72 | 4 | Operation Software | 1 | 대
04-장비-73 | 1 | Main Body | 1 | set
04-장비-73 | 2 | 전처리 장치 | 1 | set
04-장비-73 | 3 | Autosampler | 1 | set
04-장비-73 | 4 | Control System(PC) | 1 | set
04-장비-74 | 1 | Main Body | 1 | set
04-장비-74 | 2 | Headspace(Tekmar HT3) | 1 | set
04-장비-74 | 3 | 초순수제조장치(1ck Basic 300, 2차 Ultra 370) | 1 | set
04-장비-74 | 4 | 항온항습기(LG 휘센) | 1 | set
04-장비-74 | 5 | 컴퓨터 및 프린터 | 1 | set
04-장비-74-1 | 1 | 1차 Basic 360 | 1 | set
04-장비-74-1 | 2 | 2차 Ultra 370 | 1 | set
04-장비-75 | 1 | Main Body | 1 | 대
04-장비-75 | 2 | 로터 및 시료용기 세트(16HF100) | 16 | 개
04-장비-75 | 3 | 로터 및 시료용기 세트 (24HVT50) | 10 | 개
04-장비-76 | 1 | Main Body | 1 | 대
04-장비-76 | 2 | 환원기화 장치(SC-3A, RD-3A) | 1 | 대
04-장비-84 | 1 | Main system | set | 1
04-장비-84 | 2 | 전용반응기 (HS-R200S) | set | 1
04-장비-84 | 3 | NRN 분석시약 | set | 1
04-장비-85 | 1 | PP 재질 흄후드 | 2 | ea
04-장비-85 | 2 | 실험테이블(간이씽크 포함) | 2 | ea
04-장비-86 | 1 | 광다이오드 어레이 자외선-가시광선 분광광도계
04-장비-86 | 2 | 운용 소프트웨어
04-장비-86 | 3 | Accessories(Auto Sipper system, cells etc.)
04-장비-86 | 4 | Operating PC System
04-장비-87 | 1 | TOC Analyzer | 1 | 대
04-장비-87 | 2 | Autosampler with 72 positon sample rack | 1 | 대
04-장비-87 | 3 | Gas Generator | 1 | 대
04-장비-87 | 4 | Ultra Sonic Bath | 1 | 대
04-장비-88 | 1 | Gas Chromatograph Mass Spectrometer System | 1 | 대
04-장비-88 | 2 | Thermal Desorber System | 1 | 대
04-장비-89 | 1 | 물벼룩배양기(Serial No. | 1 | 대
04-장비-89 | 2 | 물벼룩배양기(Serial No. | 1 | 대
04-장비-90 | 1 | BOD 인큐베이터(Serial No. 12112UC0001) | 1 | 대
04-장비-90 | 2 | BOD 인큐베이터(Serial No. 12112UC0002) | 1 | 대
04-장비-91 | 1 | QuAAtro 39 three-channels Main system | 1 | 대
04-장비-91 | 2 | Auto sampling system with Ultra sonic homogenizer | 1 | 대
04-장비-91 | 3 | Air compressor | 1 | 대
04-장비-91 | 4 | On-line Autoclave digestion system | 1 | 대
04-장비-91 | 5 | PC | 1 | 대
04-장비-92 | 1 | Qtrap5500+ (Serial No. EX231312109) | 1 | 대
04-장비-92 | 2 | Exion LC (Serial No. AB3AD5976135) | 1 | 대
04-장비-92 | 3 | CTC PAL3 (Serial No. 555999) | 1 | 대
04-장비-93 | 1 | UDS-45RIE-1 | 2 | 대
04-장비-94 | 1 | PinAAcle5/900(원자흡수분광기,AAS) | 1 | 대
04-장비-98 | 1 | 이온크로마토그래피 시스템 | 1 | 시스템
04-장비-98 | 2 | 음이온 서프레서 | 1 | 개
04-장비-98 | 3 | 전도도검출기 | 1 | 세트
04-장비-98 | 4 | 자동시료주입기 | 1 | 세트
04-장비-98 | 5 | 자동용리액 제조장치 | 1 | 세트
04-장비-99 | 1 | QuAAtro Three Channels System (Ammonia, Fluoride, MBAS) | 1 | 세트
04-장비-99 | 2 | Auto Sampler with triple probe | 1 | 세트
04-장비-99 | 3 | Automatic cleaning & shut down system | 1 | 세트
04-장비-99 | 4 | On-Line Distillation system (Ammonia, Fluoride) | 2 | 세트
04-장비-99 | 5 | Advanced cooling module | 1 | 세트
04-장비-100 | 1 | 실험실용배기기(CHS-N12150) | 2 | ea
04-장비-101 | 1 | 냉장고 | 2 | 대
04-장비-102 | 1 | VSTAR12 | 1 | set
04-장비-103 | 1 | UV-VIS Spectrophotometer, UV-2600i Plus | 1 | ea
04-장비-103 | 2 | Sipper Unit 160L, UV | 1 | ea
04-장비-103 | 3 | Multi-Cell Sample Comp, 1600 | 1 | ea
04-장비-103 | 4 | Rect. Long Path Cell Holder, for UV-240 | 1 | ea
04-장비-103 | 5 | RECTANG.CELL,50MM(S) | 4 | ea
04-장비-103 | 6 | Type1 P-10, V-3.5mL Quartz Cell | 12 | ea
04-장비-103 | 7 | Power CORD SET,PHP-206S+PHS-301 2.4M (KOR) | 1 | ea
04-장비-103 | 8 | Data Processing Unit | 1 | set
04-장비-104 | 1 | Washing and disinfection Machine | 1 | ea
04-장비-104 | 2 | Injection nozzle (56 or more nozzels available) | 2 | ea
04-장비-104 | 3 | Washing Insert | 1 | ea
04-장비-104 | 4 | Support for beakers (50 or more beakers available) | 1 | ea
04-장비-104 | 5 | Detergent level sensor | 1 | ea
04-장비-104 | 6 | Delivery flow system | 1 | ea